[image: image1.png]"HOMEMAKERSeXp0 &




              23 - 26 February 2017

	PLUMBING & WATER SUPPLY (Stand/s must be over ducting)
	FORM : 6


	Company Name:
	
	
	Stand No:
	

	Postal Address:
	
	
	Level :
	

	
	
	
	Tel No:
	

	
	
	
	Fax No:
	

	
	
	
	Email:
	

	Co VAT Number :
	
	
	Signature:
	

	Contact on site
	
	
	Cell No:
	


	To supply and install
	Code
	Price
	Quantity
	Cost

	15 mm Cold Water supply incl. stop valve (incl’s 3m pipe/fittings/valve/installation)
	BP1
	R1484.00
	
	R

	22mm Cold Water supply only incl stop valve (incl’s 3m pipe/fittings/valve/installation)
	BP2
	R1558.00
	
	R

	15mm Cold Water supply only incl stop valve & connection to exhibitors appliance (incl’s 3m pipe/fittings/valve/installation)
	BP3
	R2045.00
	
	R

	22mm Cold Water supply only incl stop valve & connection to exhibitors appliance (incl’s 3m pipe/fittings/valve/ installation)
	BP4
	R2088.00
	
	R

	50mm Drainage only (incl’s 3m pipe/fittings/installation)
	BP5
	R1245.00
	
	R

	Hire & connection of single bowl sink, drainage & connection – Cold Water Only (incl’s 900mm sink unit/waste/trap/3m drainage/fittings/installation)
	BP6
	R3264.00
	
	R

	Hire & connection of single bowl sink, drainage & connection plus 10L underbasin geyser with Hot Water (incl’s 900mm sink unit/waste/trap/3m drainage/fittings/underbasin geyser/installation)
	BP7
	R4748.00
	
	R

	Hire & connection of double bowl sink, drainage & connection – Cold Water Only (incl’s 1200mm sink unit/waste/trap/3m drainage/fittings/ installation)
	BP8
	R3837.00
	
	R

	Hire & connection of double bowl sink, drainage and connection plus 10L underbasin geyser with Hot Water (incl’s 1200mm sink unit/waste/trap/3m drainage/fittings/underbasin geyser/ installation) 
	BP9
	R5713.00
	
	R

	Connect exhibitor appliance incl. fittings excl mixer & main line connection (incl’s miscellaneous fittings/installation – excl’s mixer & cold water connection)
	BP10
	R1049.00
	
	R

	Hire and Connection of Grease Trap (Incl’s 2m pipe/ fittings / GT500 Grease Trap/ Installation)
	BP11
	R2681.00
	
	

	Hire of prep bowl (incl’s 450mm prep bowl/fittings/star pillar mixer/connections)
	BP12
	R1224.00


	
	R

	Hire of pump & drum unit/sink/Cold Water only(for a freestanding sink unit with drum for water & waste water only) Double Bowl sink with Cold Water Only (incl’s 2 x 25L drums/1200mm DBL bowl sink/sink mixer/pump & installation)
	BP13
	R5289.00
	
	R

	                     Continued on form 6A overleaf …….


	PLUMBING & WATER SUPPLY (Stand/s must be over ducting)
	FORM : 6A


	Company Name:
	
	
	Stand No:
	

	Postal Address:
	
	
	Level :
	

	
	
	
	Tel No:
	

	
	
	
	Fax No:
	

	
	
	
	Email:
	

	Co VAT Number :
	
	
	Signature:
	

	Contact on site
	
	
	Cell No:
	


	Hire of pump & drum unit/sink/10L geyser/(For a freestanding sink unit with drum for water & waste water only) double bowl sink with Hot Water (incl’s 2 x 25L drums/1200mm DBL Bowl Sink/10L Prisma Geyser/Sink Mixer/pump/ Installation)
	BP14
	R5655
	
	R

	Hire of pump & drum unit/sink/Cold Water Only (for a freestanding sink unit with drum for water & waste water only) single bowl sink with Cold Water only (incl’s 2x25L drums/900 mm DBL bowl sink/sink mixer/pump / installation)
	BP15
	R5066
	
	R

	Hire of pump & drum unit/sink/10L geyser (for a freestanding sink unit with drum for water & waste water only) single bowl sink with hot water (incl’s 2x25L drums/900mm SNGL bowl sink/10L prisma geyser/sink mixer/pump/ installation)
	BP16
	R5194
	
	R

	Collection of waste water & refill of clean water for pump & drum unit (cost per stand/per day) (incl’s 2 x collection of waste water and 2 x refill of clean water per stand per day)
	BP17
	R636.00
	
	R

	Collection of waste water & refill of clean water for pump & drum unit (cost per stand/per day) (Extra – includes 1 x collection of waste water and 1 x refill of clean water per stand per day)
	BP18
	R350.00
	
	R

	Sub total
	
	
	
	R

	14% VAT
	
	
	
	R

	25% surcharge on late orders
	
	
	
	R

	TOTAL PAYABLE TO HOMEMAKERS Expo
	
	
	
	R

	
	
	
	
	R

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	Plumber – Standby per day including weekend
	
	R4800.00
	
	

	Site Assessment and First Fix Plumbing
	
	To be assessed
	
	

	Rate per meter over and abovementioned rates to be quoted accordingly
	
	To be assessed
	
	


ALL MATERIALS ARE ON HIRE BASIS ONLY. ALL AMOUNTS INCLUDE THE DISCONNECTION & STRIPPING AFTER THE SHOW.
· See overleaf for Plumbing & Water Supply sketch …………………/
	Plumbing & Water Supply Sketch – Stand/s must be over ducting
	FORM : 6B 


	Company Name:
	
	
	Stand No:
	

	Postal Address:
	
	
	Level :
	

	
	
	
	Tel No:
	

	
	
	
	Fax No:
	

	
	
	
	Email:
	

	Co VAT Number :
	
	
	Signature:
	

	Contact on site
	
	
	Cell No:
	


ANY EQUIPMENT THAT HAS BEEN INSTALLED ON THE STAND THAT IS MISSING AT BREAKDOWN WILL BE CHARGED FOR.

	Supply a sketch of your stand/s, indicating the

position of the water & waste supply requested.

Where critical, indicate measurements. Should you

fail to include a sketch, the plumber will place the

fittings at their discretion.




Fax completed forms to: 086 775 3067
Return both these forms together with the ‘Remittance Advice’ Summary form.

ALL ORDER FORMS TO REACH HOMEMAKERS ON OR BEFORE 27th JANUARY 2017
For all enquiries contact HOMEMAKERS Expo on 086111 4663 or e-mail michelle@homemakers-sa.co.za
[image: image1.png]